Sample safety program:

Electrical safety awareness

Insert company name

Electrical safety awareness program: Qualified/Non-qualified

Purpose

The purpose of this program is to control the risks associated with the planned work on, or in proximity to energized electrical systems and/or components. This program applies to all work operations at (Insert company name) where company personnel whose work assignment may result in potential exposure to energized electrical systems and/or components.

Responsibility

Management

- Develop and endorse the written plan

- Delegate sufficient authority to the respective department heads involved to effectively implement the plan

- Develop company policies that will assure that all electrical related tasks are performed in compliance with the written program and all applicable regulations

- Develop internal policies that will assure that all required records are maintained

- Provide the necessary resources required to effectively implement the plan

Supervisors

- Designate an individual(s) to serve as authorized individual(s) to perform the required monitoring

- Assure that the authorized individual(s) receive all the necessary training to effectively discharge their duties

- Assure that all individuals who perform electrical work receive the required training

- Assure that all necessary equipment and supplies to effectively protect the health and safety of the workers are provided and maintained in a good state of repair

Employee

- Actively participate in all training programs offered

- Fully abide by all work rules and apply health precautions specified within

- Report any problems that are observed, which could compromise the health and safety of yourself or co-workers to your immediate supervisor

Enforcement

Constant awareness of, and respect for electrical hazards and compliance with all safety policies are considered conditions of employment. Supervisors and individuals in the safety and personnel department reserve the right to issue disciplinary warnings to employees, up to and including termination, for failure to follow the guidelines of this program.

Program coordinator

(Insert coordinator’s name, title) is the program coordinator and has overall responsibility for this program. (Insert coordinator’s name), or their designee, will review and update this program, as necessary. Copies of this program are kept in (Insert location) and readily available.

Procedures

Prior to work on any energized electrical system and/or component, employees will receive training in the purpose and use of energy control procedures. Once trained, authorized employees will define the hazards, establish appropriate hazard controls, and follow established procedures for working on energized systems and/or components before beginning work.

The goal of this training is to ensure that all employees understand the hazards associated with electric energy and can perform the necessary steps to protect themselves and their co-workers.

Identification

Electrical flow varies in accordance with current amperage, voltage pressure and flow impedance. Each of these factors influence the risks associated with working on or near energized electrical systems and/or components. Additional factors such as the presence of water and flammable/combustible materials can significantly increase this risk.

Training

Every employee at (Insert company name) who has the potential to contact electrical energy by working on or near energized sources shall receive training in electrical-related safe work practices pertaining to the individual job assignment.  This training shall be performed on an individual job-by-job basis to address specific elements of each job. General electrical awareness training will be conducted within 30 days of employment for all employees.  Employees will not be allowed to perform any work around electrical equipment until they have completed the required training. When changes occur that involve electrical elements, training will be conducted to ensure the safety of all affected employees.

The goal of this training is to ensure that all employees understand the hazards associated with electrical energy and that they can perform the necessary steps to protect themselves and their co-workers.

Training for the electrical safety program will include:

- Locking and tagging of conductors and parts of electrical equipment

- Safe procedures for de-energizing circuits and equipment

- Application of locks and tags

- Verification that the equipment has be de-energized

- Procedures for re-energizing the circuits or equipment

- How to safely use personal protective equipment (PPE)

- Other electrically related information which is necessary for employee safety; and

- Working on or near exposed de-energized parts

Any equipment which is not locked out and tagged out shall be assumed to be energized.

**For facilities with no licensed electricians on staff**

At our facilities, all employees using or working near energized or de-energized electric sources are considered *non-qualified to work safely with electrical energy and have not received the appropriate training to do so. (Insert company name) does not employ any *qualified employees. A qualified person is one who has received proper training on the use of special precautionary techniques, PPE, insulating and shielding materials and insulated tools.  All tasks requiring a qualified person will be contracted to a licensed electrician.  Employees that are considered non-qualified will be trained accordingly.

**For facilities with licensed electricians on staff**

At our facilities, all employees using or working near energized or de-energized electric sources are considered *non-qualified to work safely with electrical energy and have not received the appropriate training to do so. (Insert company name) employ’s (Insert # of qualified employees) qualified employees; they are listed below. A *qualified person is one who has received proper training on the use of special precautionary techniques, PPE, insulating and shielding materials and insulated tools.  All tasks requiring a qualified person will be performed in-house unless no qualified person is available.  Then those operations will be contracted to a licensed electrician.  Employees that are considered non-qualified will be trained accordingly.

*Definitions of qualified and non-qualified persons are in the Appendix.

“Qualified Persons” shall not be assigned to work alone, except for replacing fuses, operating switches, or other operations that do not require the employee to contact energized high voltage conductors or energized parts of equipment, clearing trouble, or emergencies. Employees must receive training in avoiding the electrical hazards associated with working on or near exposed energized parts prior to performing energized electrical work. Such training will be provided when the employee is initially assigned to the job and refresher training will be provided every ___ years or when conditions change.

The following items are to be included in the training of qualified electrical workers:

- Demonstrate a working knowledge of the National Electrical Code

- The Lockout/Tagout training program, including safe work practices required to safely de-energize electrical equipment

- Universal electrical safety procedures

- Skills and techniques necessary to distinguish exposed live parts from other parts of electric equipment

- Perform on-the-job training with a qualified electrical worker

- Skills and techniques necessary to determine the nominal voltage of exposed live parts

- The approach distances specified in table 2-1.3.4, Approach Boundaries to Live Parts for Shock Protection (NFPA 70E Standard for Electrical Safety Requirements for Employee Workplaces, 2004 edition), and the corresponding voltages to which the qualified electrical worker will be exposed.

- Selection and use of proper work practices, personal protective equipment, tools, insulating and shielding materials and equipment for working on or near energized parts.

Effects of electrical shock

The seriousness of an electrical shock is determined by the voltage on the circuit, skin/internal resistance, amount of current flowing through the body, path the current takes, the body’s reaction to the shock, and the length of time electricity is applied.

- Volts divided by resistance in Ohms = Current in Amps

- 120 Volts divided by 100,000 Ohms = 0.0012 Amps or 1.2 Milliamps

- 1.2 Milliamps is perception threshold

- 10-20 Milliamps is painful; Let-go threshold; can kill in time

- 100 Milliamps can kill in a second; cannot let go

- 200 Milliamps kills; causes heart fibrillation; burns human flesh

Personal protective equipment (PPE)

Employees working in areas where there are potential electrical exposure hazards will use electrical protective equipment that is appropriate for the work to be performed. Employees will use, store and maintain this electrical PPE in a safe, reliable condition. All PPE should be inspected daily and immediately following an exposure. The electrical tools and protective equipment must be specifically approved, rated and tested for the levels of voltage of which an employee may be exposed.

Employees will wear the following PPE as required by the exposure:

- Non-conductive safety glasses with fixed side shields

- Non-conductive full face-shield

- Non-conductive hard hat

- Non-conductive shoes/boots

- Rubber gloves with leather over-gloves; and arc flash suit

- Additional illumination may be needed when using tinted face shields as protection during electrical work

- Protective shields, barriers or insulating materials must be used to protect each employee from shock, burns, or other electrical injuries while that person is working near exposed energized parts that might be accidentally contacted or where dangerous electric heating or arcing might occur

Conductive apparel

Employees may not wear conductive articles of jewelry, clothing, or metal eyeglasses without goggles or face shield, such as watchbands, bracelets, rings, key chains, necklaces, metalized aprons, cloth with conductive thread, or metal headgear, if they might contact exposed energized parts.

## Flame-resistant (FR) apparel and under layers

    - FR apparel shall be visually inspected before each use and any FR apparel that is contaminated or damaged shall not be used

    - Protective items that become contaminated with grease, oil flammable liquids, or combustible liquids shall not be used

    - The garment manufacturer’s instructions for care and maintenance of FR apparel shall be followed

    - When the apparel is worn to protect an employee, it shall cover all ignitable clothing and allow for movement and visibility

    - FR apparel must cover potentially exposed areas as completely as possible. FR shirt sleeves must be fastened, and FR shirts/jackets must be closed at the neck

    - Non-melting, flammable garments (i.e. cotton, wool, rayon, silk, or blends of these materials) may be used as under layers beneath FR apparel

    - Meltable fibers such as acetate, nylon, polyester, polypropylene, and spandex shall not be permitted in fabric under layers next to skin. (An incidental amount of elastic used on non-melting fabric underwear or socks shall be permitted)

    - Garments worn as outer layers over FR apparel (i.e. jackets or rainwear) must also be made from FR material

    - Flash suits must permit easy and rapid removal by the user

## Insulated tools and materials

Employees must use insulated tools and handling equipment that are rated for the voltages to be encountered when working near exposed energized conductors or circuit. Tools and handling equipment should be replaced if the insulating capability is decreased due to damage. Protective gloves must be used when employees are working with exposed electrical parts above fifty (50) volts.

    - Only insulated tools and equipment shall be used within the limited approach boundary of exposed energized parts

    - Insulated tools shall be rated for the voltages on which they are used

    - Insulated tools shall be designed and constructed for the environment to which they are exposed and the way they are used

    - Fuse or fuse holder handling equipment, insulated for the circuit voltage, shall be used to removed or install a fuse if the fuse terminals are energized

    - Ropes and handlines used near exposed energized parts shall be nonconductive

    - Portable ladders used for electrical work shall have nonconductive side rails

## Rubber insulating equipment

    - Rubber insulating equipment includes protective devices such as gloves, sleeves, blankets, and matting

    - Insulating equipment must be inspected for damage before each day’s use and immediately following any incident that could have caused damage

    - An air test must be performed on rubber insulating gloves before each use

    - Insulating equipment found to have defects that might affect its insulating properties must be removed from service until testing indicates that it is acceptable for continued use

    - Where the insulating capability of protective equipment is subject to damage during use, the insulating material shall be protected by an outer covering of leather or other appropriate materials

    - Rubber insulating equipment must be tested according to the schedule supplied by the manufacturer

    - Rubber insulating equipment must be stored in an area protected from light, temperature extremes, excessive humidity, ozone, and other substances and conditions that my cause damage

    - No repairs to rubber insulating equipment shall be attempted without the approval of the safety manager or coordinator

## Lockout/Tagout program

(Insert company name) has implemented a written lockout/tagout (LOTO) program and trains employees in the purpose and application of LOTO. The LOTO program covers locating and labeling energy sources, identifying employees at risk, how and by whom the equipment is de-energized, releasing of stored energy, verifying that the circuit is de-energized and can't be restarted, voltage testing, grounding requirements, shift changes, coordination with other jobs in progress, a procedure for keeping track of all involved personnel, applying and removing lockout/tagout devices, return to service, and temporary re-energizing for testing/positioning. Lockout/tagout procedures will be developed for each machine or piece of equipment that will require servicing.

- Lockout/tagout application. Each person who could be exposed to electric energy must be involved in the lockout/tagout process. Locks prevent unauthorized persons from reenergizing the equipment or circuits and the tags prohibit unauthorized operation of the disconnecting device.

- After de-energizing, each employee at risk should apply an individual lockout/tagout device to each source of electric energy. Pushbuttons or selector switches cannot be used as the only way to de-energize.

- Verification of de-energized condition of circuits and equipment. Prior to work on the equipment, we require that a "qualified" employee verifies that the equipment is de-energized and cannot be restarted.

- A lockout device is a key or combination lock with a tag that can be attached to a disconnecting device to prevent the re-energizing of the equipment being worked on without removal of the lock.  The lockout device should have a way of identifying whose lock it is. Individual lockout devices with the employee name and picture on them are preferred. That employee must be the only person who has the key or combination for the lockout device they install, and that employee should be the only person to remove the lock after all work has been completed.

- A tagout device is a tag and a way to attach it that can withstand at least 50 pounds of force. Tagout devices should be used alone only when it is not possible to install a lockout device.

- The tag used in conjunction with a lockout or tagout device must have a label prohibiting unauthorized operation of the disconnecting means or unauthorized removal of the device.

- Before beginning work, each involved employee must verify through testing that all energy sources have been de-energized.

- Electric lockout/tagout procedures should be coordinated with all other site procedures for controlling exposure to electric energy and other types of energy sources.

- Individual qualified-employee control procedure. For minor servicing, maintenance, inspection, and so on, on plug-connected equipment, work may be done without attaching lockout/tagout devices if the plug is next to where the employee is working, is always easy to see, and the equipment is never left alone while being serviced.

- Complex lockout/tagout procedures. Special procedures are needed when there is more than one energy source, crew, craft, location, employer, way to disconnect, or lockout/tagout procedure - or work that lasts beyond one shift.  In any of these cases, one qualified person should oversee the lockout/tagout procedure with full responsibility for ensuring all energy sources are under lockout/tagout and to account for all people on the job.  There should be a written plan addressing the specific details and naming the person in charge.

- Removal of lockout/tagout devices. Lockout and tagout devices should be removed only by the person installing them.  If work is not completed when the shift changes, workers arriving on shift should apply their locks before departing workers remove their locks.

- Re-energizing circuits and equipment. Before circuits or equipment are reenergized, we follow these steps in this order:

- A "qualified" employee conducts tests and verifies that all tools and devices have been removed

- All exposed employees are warned to stay clear of circuits and equipment

- Authorized employees remove their own locks and tags

- A visual inspection of the area should be done to be sure all employees are clear of the circuits and equipment

- Only then is it safe to re-energize and return to service. Employees responsible for operating the equipment and that are needing it to safely re-energize, should be out of the danger zone before equipment is re-energized.

- Temporary release. If the job requiring lockout/tagout is interrupted for testing or positioning equipment, follow the same steps as in re-energizing circuits and equipment (above).

Selection and use of work practices

The work practices used by an employee must be sufficient to prevent electric shock or other injuries that could result from either direct or indirect electrical contact. These work practices must be used when work is performed near or on equipment or circuits that are or may be energized. The work practices used must be consistent with the nature and extent of the electrical hazard.

Working on electrical systems

Energized Parts: Only qualified employees can work on electric parts or equipment that have not been de-energized using approved lockout/tagout procedures. They shall also be familiar with the use of special precautionary techniques, PPE, insulating & shielding materials, and insulated tools. An Electrical Energized Work Permit must be obtained before work can proceed. Live parts to which an employee may be exposed will be de-energized before the employee works on or near them, unless:

- De-energizing introduces additional or increased hazards. Examples of “additional or increased” hazards include interruption of life support equipment, deactivation of emergency alarm systems, shutdown of fume hood ventilation systems, or removal of illumination for an area.

- De-energizing is not possible due to equipment design or operational limitations. Examples include testing that can only be performed with the electrical circuit energized, and work on circuits that form an integral part of a continuous process that would need to be completely shut down in order to permit work on one circuit or piece of equipment.

- Live parts operate at less than 50 volts to ground and there is no increased exposure to electrical burns or to explosion due to electric arcs. If de-energizing exposed live parts could add to or increase the hazard or is not possible, then other approved work practices must be used to protect employees who may be exposed to the electrical hazards.

De-energizing equipment

Safe procedures for de-energizing circuits and equipment will be determined by a qualified worker before the circuit or equipment is de-energized.

- Circuits and equipment to be worked on will be disconnected by the worker from all electric energy sources. Control circuit devices, such as push buttons, selector switches, and interlocks will not be used as the sole means for de-energizing circuits or equipment. Interlocks for electric equipment may not be used as a substitute for lockout and tagging procedures.

- Stored electrical energy that might endanger personnel must be released prior to the work. This might include, for example, discharging capacitors, and short-circuiting and grounding high capacitance elements. If the capacitors or associated equipment are handled during this work, they must be treated as energized.

- Stored non-electrical energy (for example, hydraulic or pneumatic) in devices that could reenergize electric circuit parts must be blocked or relieved so that circuit parts cannot be accidentally reenergized by the device.

- A lock and tag must be placed on each disconnecting means used to de-energize circuits and equipment on which work is to be done. The lock must be attached to prevent persons from reenergizing the circuit unless they resort to undue force or the use of tools.

Verification of De-energized Condition: The following requirements must be met before any circuit or equipment is considered de-energized or may be worked on as de-energized.

- A qualified person must activate the equipment operating controls or use other methods to verify that the equipment cannot be restarted.

- A qualified person must use test equipment to ensure that electrical parts and circuit elements are de-energized. The test must confirm there is no energized condition from induced voltage or voltage back-feed.

- Test equipment and instruments must be visually inspected for external defects or damage before being used to verify that the equipment or circuit is de-energized.

- When voltage over 600 volts nominal are tested, the test equipment must be checked for proper operation immediately before and after the test.

The process of de-energizing is "live" work and can result in an arc flash due to equipment failure. When de-energizing, follow the procedures described in "Working on or Near Live Equipment."

Working on or near exposed de-energized parts

When employees work on exposed de-energized parts or near enough to them to expose the employee to an electrical hazard, the following safety related work practices will be followed.

- Any conductors or parts of electric equipment that have not been properly locked and/or tagged out must be treated as energized even if these systems have been de-energized.

- If the potential exists for an employee to contact parts of fixed electric equipment or circuits that have been de-energized, the circuits energizing the parts must be locked and/or tagged out. Locking and tagging procedures must comply with (Insert company name)’s Lockout/Tagout program and the requirements outlined in this program.

Interlocks

Only qualified persons can bypass electrical safety interlocks, and then only temporarily while they are working on the equipment. This work must comply with the specified procedures for working on or near exposed energized parts. The interlock system must be returned to its operable condition when the work is completed.

Working on or near energized equipment

Working on live circuits means touching energized parts.  Working near live circuits means working close enough to energized parts to pose a risk even though work is on de-energized parts. Common tasks where there may be a need to work on or near live circuits include:

- Taking voltage measurements

- Opening and closing disconnects and breakers

- Racking breakers on and off the bus

- Removing panels and dead fronts

- Opening electric equipment doors for inspection

The National Fire Protection Association (NFPA) defines three (3) approach distances for shock hazards and one (1) for arc flash.

- The limited approach boundary is the distance from an exposed live part within which a shock hazard exists.

- The restricted approach boundary is the closest distance to exposed live parts a qualified person can approach with proper PPE and tools.  Inside this boundary, accidental movement can put a part of the body or conductive tools in contact with live parts or inside the prohibited approach boundary.  To cross the restricted approach boundary, the qualified person must:

1.	Have an energized work permit that is approved by the supervisor or manager responsible for the safety plan.

2.	Use PPE suitable for working near exposed lived parts and rated for the voltage and energy level involved.

3.	Be certain that no part of the body enters the prohibited space.

4.	Minimize the risk from unintended movement, by keeping as much of the body as possible out of the restricted space; body parts in the restricted space should be protected.

- The prohibited approach boundary is the minimum approach distance to exposed live parts to prevent flashover or arcing. Approaching any closer is comparable to making direct contact with a live part. To cross the prohibited approach boundary, the qualified person must:

    - Have specified training to work on exposed live parts.

    - Have a permit with proper written work procedures and justifying the need to work that close.

    - Do a risk analysis.

    - Have (2) and (3) approved by the appropriate supervisor.

    - Use PPE appropriate for working near exposed live parts and rated for the voltage and energy level involved.

- The Flash Protection Boundary is the approach limit at a distance from exposed live parts within which a person could receive a second degree burn if an electrical arc flash were to occur.

- Use PPE appropriate for working near exposed live parts and rated for the voltage and energy level involved.

- For systems of 600 volts and less, the flash protection boundary is 4 feet, based on an available bolted fault current of 50 kA and a clearing time of 6 cycles for the circuit breaker to act, or any combination of fault currents and clearing times not exceeding 300 kA cycles.

- When working on de-energized parts and inside the flash protection boundary for nearby live exposed parts:

  - If the parts cannot be de-energized, use barriers such as insulted blankets to protect against accidental contact or wear proper PPE.

Re-energizing equipment

In addition to the requirements of the Lockout/Tagout Program, the following requirements must be met, in the order given, before circuits or equipment are re-energized, even temporarily:

- A qualified person must conduct tests and visual inspections as necessary to verify that all tools, electrical jumpers, shorts, grounds and other such devices have been removed so that circuits and equipment can be safely energized

- Employees potentially exposed to the hazards of re-energizing the circuit must be warned to stay clear; and

- Each employee removes his or her lock(s) and tag(s).

Overhead power lines

When work is to be performed near overhead lines, the lines must be de-energized and grounded.

Arrangements must be made with the organization that operates or controls the electric circuits when lines are to be de-energized and grounded.

• If it is not possible to de-energize and ground overhead lines, then other protective measures, such as guarding, isolating or insulating, must be taken before the work is started. These protective measures must prevent direct contact by the qualified person or indirect contact through conductive materials, tools, or equipment. Only qualified persons from the power distribution company can install insulating devices on overhead power transmission and distribution lines. Unqualified persons working on the ground are not allowed to bring any conductive object or any insulated object that does not have the proper insulating rating closer to unguarded, energized overhead lines than the distance allowed in Table 2.

| Table 2 |  |
| --- | --- |
| Voltage to ground | Limited approach distance |
| 0-600V | 3 feet + 6 inches |
| 601V-50kV | 10 feet |
| Over 50 kV | 10 feet + 4 inches for every 10 kV over 50 kV |

Qualified employees working in the vicinity of overhead lines, whether in an elevated position or on the ground, are not allowed to approach or take any conductive object without an approved insulating handle closer to exposed energized parts than allowed in Table 3 unless:

• The person is insulated from the energized part by using gloves, with sleeves if necessary, rated for the voltage involved; or

• The energized part is insulated from all other conductive objects at a different potential and from the person; or

• The person is insulated from all conductive objects at a potential different from the energized part.

| Table 3 |
| --- |
| Approach Distances for Qualified Persons Exposed To A/C Voltage |
| Voltage range (phase-to-phase) | Limited approach distance |
| 300 V and less | No Minimum (avoid contact) |
| Over 300V, not over 750V | 1ft 0 in. |
| Over 750V, not over 2kV | 1ft. 6 in. |
| Over 2kV, not over 15kV | 2ft. 0 in. |
| Over 15kV, not over 37kV | 3ft. 0 in. |
| Over 37kV, not over 87.5kV | 3ft. 6 in. |
| Over 87.5kV, not over 121kV | 4ft. 0 in. |
| Over 121kV, not over 140 kV | 4ft. 6 in. |

## Access limiting equipment

    - Barricades shall be used in conjunction with safety signs to prevent or limit access to work areas containing live parts.  Conductive barricades shall not be used where they might cause an electrical hazard. Barricades shall be placed no closer than the Limited Approach Boundary.

    - If signs and barricades do not provide sufficient protection, an attendant will be assigned to warn and protect pedestrians.  The primary duty of the attendant shall be to keep an unqualified person out of the work area where an electrical hazard exists.  The attendant shall remain in the area if there is a potential exposure to electrical hazards.

All dimensions are distance from live part to employee

| Limited approach boundary |
| --- |
| Nominal system voltage range, phase to phase | Exposed movable conductor | Exposed fixed- circuit part | Restricted approach boundary (allowing for accidental movement) | Prohibited approach boundary |
| 0 to 50 V | Not specified | Not specified | Not specified | Not specified |
| 51 to 300 V | 10 ft 0 in | 3 ft 6 in | Avoid contact | Avoid contact |
| 301 to 750 V | 10 ft 0 in | 3 ft 6 in | 1 ft 0 in | 0 ft 1 in |
| 751 to 15 kV | 10 ft 0 in | 5 ft 0 in | 2 ft 2 in | 0 ft 7 in |
| 15.1 kV to 36 kV | 10 ft 0 in | 6 ft 0 in | 2 ft 7 in | 0 ft 10 in |
| 36.1 kV to 46 kV | 10 ft 0 in | 8 ft 0 in | 2 ft 9 in | 1 ft 5 in |
| 46.1 kV to 72.5 kV | 10 ft 0 in | 8 ft 0 in | 3 ft 2 in | 2 ft 1 in |
| 72.6 kV to 121 kV | 10 ft 8 in | 8 ft 0 in | 3 ft 3 in | 2 ft 8 in |
| 138 kV to 145 kV | 11 ft 0 in | 10 ft 0 in | 3 ft 7 in | 3 ft 1 in |
| 161 kV to 169 kV | 11 ft 8 in | 11 ft 8 in | 4 ft 0 in | 3 ft 6 in |
| 230 kV to 242 kV | 13 ft 0 in | 13 ft 0 in | 5 ft 3 in | 4 ft 9 in |
| 345 kV to 262 kV | 15 ft 4 in | 15 ft 4 in | 8ft 6 in | 8 ft 0 in |

Source: From a portion of table 2-1.3.4, Approach Boundaries to Live Parts for Shock Protection (NFPA 70E Standard for Electrical Safety Requirements for Employee Workplaces, 2004 edition).

Vehicles and mechanical equipment

When work must be performed near overhead lines, the lines shall be de-energized and grounded, or other protective measures shall be provided before work is started.

- If the lines are to be de-energized, arrangements shall be made with the person or organization that operates or controls the electric circuits involved to de-energize and ground them.

- If protective measures, such as guarding, isolating or insulating are provided, these precautions shall prevent employees from contacting such lines directly with any part of their body or indirectly through conductive materials, tools or equipment.

A minimum clearance of 10 feet must be maintained between energized overhead lines and all vehicles or mechanical equipment capable of having parts or its structure elevated (e.g., cranes, mobile scaffolds, elevating platforms, dump trucks, lift trucks, and flatbed trailer cranes). If the voltage of the overhead line is greater than 50 kV, the clearance must be increased by 4 inches for every 10 kV over 50 kV.

The clearance requirement may be reduced if:

- The vehicle is in transit with its structure lowered. The clearance may be reduced to 4 feet when near energized lines operating at less than 50 kV, or 4 ft plus 4 inches for every 10 kV over 50 kV.

- Insulating barriers are installed to prevent contact with the lines and the barriers are rated for the voltage of the line being guarded. The barrier may not be part of an attachment to the vehicle or its raised structure. The clearance may be reduced to the distance allowed by the design of the insulating barrier.

- The equipment is an aerial lift insulated for the voltage involved and the work is performed by a qualified person. The clearance between the un-insulated portion of the lift and the power line may be reduced to the distance given in Table 3.

## Equipment contact

Persons standing on the ground shall not contact the vehicle or mechanical equipment or any of its attachments, unless either of the following conditions applies:

- The employee is using protective equipment rated for the voltage; or

- The equipment is located so that no un-insulated part of the structure (that portion of the structure that provide a conductive path to employees on the ground) can come closer to the line than permitted in NFPA 130.5 (E)(1).

When any vehicle or mechanical equipment is intentionally grounded, persons may not stand near the point of grounding when there is any possibility of contact with overhead energized lines. Additional precautions (e.g., such as the use of barricades or insulation) must be taken as necessary to protect persons from hazardous ground potentials that can develop within a few feet or more outward from the grounding point.

## Elevated equipment

## Where any vehicle or mechanical equipment structure will be elevated near energized overhead lines, they shall be operated so that the Limited Approach Boundary distance of NFPA table 130.2(C), column 2, is maintained.  However, under any of the following conditions, the clearances shall be permitted to be reduced:

- If the vehicle is in transit with its structure lowered, the Limited Approach Boundary distance to the overhead lines in NFPA Table 130.2 (C), column 2, shall be permitted to be reduced by 6 ft.  If insulated barriers, rated for the voltages involved, are installed and they are not part of an attachment to the vehicle, the clearance shall be permitted to be reduced to the design working dimensions of the insulating barrier.

- If the equipment is an aerial lift insulated for the voltage involved, and if the work is performed by a qualified person, the clearance (between the un-insulated portion of the aerial lift and the power line) shall be permitted to be reduced to the Restricted Approach Boundary given in NFPA Table 130.2 (C), column 4.

## Equipment grounding

If any vehicle or mechanical equipment capable of having parts of its structure elevated near energized overhead lines is intentionally grounded, employees working on the ground near the point of grounding shall not stand at the grounding location whenever there is a possibility of overhead line contact.  Additional precautions, such as the use of barricades or insulation, shall be taken to protect employees from hazardous ground potentials (step and touch potential), which can develop within a few feet or more outward from the ground point.

Conductive materials and equipment

Conductive materials and equipment that are in contact with any part of an employees’ body must be handled in a manner that will prevent them from contacting exposed energized conductors or circuit parts. If an employee must handle long conductive objects, such as metal ducts, pipes, or rods, in areas with exposed live parts, then insulation, guarding and/or approved material handling techniques must be used which will minimize the hazard.

Portable ladders

A portable ladder used where there is potential for contact with exposed energized parts must have nonconductive side rails.

Housekeeping

Housekeeping duties may not be performed close to live parts unless adequate safeguards, such as insulating equipment or barriers, are provided. Electrically conductive cleaning materials, including steel wool, metalized cloth and silicon carbide, as well as conductive liquid solutions, may not be used near energized parts unless procedures are followed which prevent electrical contact.

Illumination

Employees may not enter spaces containing exposed energized parts unless there is sufficient illumination for them to perform the work safely. Employees may not perform tasks near exposed energized parts where there is lack of illumination or an obstruction that blocks his or her view of the work to be performed. Do not reach blindly into areas that may contain energized parts.

Confined or enclosed workspaces

Employees working in manholes, vaults or similar confined or enclosed spaces that contain exposed energized parts must be provided with, and must use, protective shields, protective barriers, or insulating materials as needed to prevent inadvertent contact with these energized parts.  Doors and hinged panels that could swing into an employee and cause him or her to contact exposed energized parts must be secured before work begins. Work performed within confined or enclosed spaces must comply with (Insert company’s name’s) confined space entry program.

Portable electrical equipment and extension cords

Control of cords and circuits

The following requirements apply to the use of cord-and-plug-connected equipment and flexible cord sets (extension cords):

- Extension cords may only be used to provide temporary power.

- Inspect cords before each use. Any defective cord or cord-and-plug-connected equipment must be removed from service and no person may use it until it is repaired and tested to ensure it is safe for use

- Be sure plug and receptacle have proper mating configuration

- To unplug, never pull on the cord, pull on the plug

- Two conductor cords are illegal

- Ensure enough slack to prevent strain on plug or receptacle

- A plug-receptacle should have at least 8 ounces of contact tension

- Cords should be kept clean and free of kinks and insulation breaks

- Cords crossing vehicular or personnel passageways should be protected, sign posted, and used temporarily or in an emergency only

- Cords should be of continuous length and without splices

- Personnel performing work on renovation or construction sites using extension cords must be provided, and must use, a ground-fault circuit interrupter (GFCI)

- Portable equipment must be handled in a manner that will not cause damage. Flexible electric cords connected to equipment may not be used for raising or lowering the equipment

- Extension cords must be protected from damage. Sharp corners and projections must be avoided. Flexible cords may not be run through windows or doors unless protected from damage, and then only on a temporary basis. Flexible cords may not be run above ceilings or inside or through walls, ceilings or floors, and may not to be fastened with staples or otherwise hung in such a fashion as to damage the outer jacket or insulation

- Extension cords and flexible cords must be designed for hard or extra hard usage (for example, types S, ST, and SO). The rating or approval must be visible

- Attachment plugs and receptacles may not be connected or altered in any way that would interrupt the continuity of the equipment-grounding conductor. Additionally, these devices may not be altered to allow the grounding pole to be inserted into current connector slots. Clipping the grounding prong from an electrical plug is prohibited

- All portable electric equipment and flexible cords used in highly conductive work locations, such as those with water or other conductive liquids, or in places where employees are likely to contact water or conductive liquids, must be approved for those locations. In these locations GFCI must also be used

- Employee's hands must not be wet when plugging and unplugging flexible cords and cord-and-plug connected equipment if energized equipment is involved

- If the connection could provide a conducting path to employee’s hands (for example, if a cord connector is wet from being immersed in water), the energized plug and receptacle connections must be handled only with insulating protective equipment

- Locking-type connectors must be properly locked into the connector

- Lamps for general illumination must be protected from breakage, and metal shell sockets must be grounded

- Temporary lights must not be suspended by their cords unless they have been designed for this purpose

- Portable lighting used in wet or conductive locations, such as tanks or boilers, must be operated at no more than 12 volts or must be protected by GFCI’s; and,

- Extension cords are temporary wiring and must also comply with the section on “Requirements for Temporary Wiring” in this program.

When working with circuits, the following safety practices are enforced:

- Only switches and breakers designed to do so may be used to control current

- Only approved equipment may be used in wet or damp areas. Always use a Ground Fault Circuit Interrupter (GFCI)

- Never energize equipment when shields or guards have been removed; and,

- Always honor lock out/tag out situations

# Requirements for temporary wiring

Temporary electrical power and lighting installations 600 volts or less, including flexible cords, cables and extension cords, may only be used during and for renovation, maintenance, repair, or experimental work.  The duration for temporary wiring used for decorative lighting for special events and similar purposes may not exceed 90 days.  The following additional requirements apply:

- Ground-fault protection (e.g., ground-fault circuit interrupters, or GFCI) must be provided on all temporary-wiring circuits, including extension cords, used on construction sites.

- In general, all equipment and tools connected by cord and plug must be grounded.  Listed or labeled double insulated tools and appliances need not be grounded.

- Feeders must originate in an approved distribution center, such as a panel board, that is rated for the voltages and currents the system is expected to carry.

- Branch circuits must originate in an approved power outlet or panel board.

- Neither bare conductors nor earth returns may be used for the wiring of any temporary circuit.

- Receptacles must be of the grounding type.  Unless installed in a complete metallic raceway, each branch circuit must contain a separate equipment-grounding conductor, and all receptacles must be electrically connected to the grounding conductor.

- Flexible cords and cables must be of an approved type and suitable for the location and intended use.  They may only be used for pendants, wiring of fixtures, connection of portable lamps or appliances, elevators, hoists, connection of stationary equipment where frequently interchanged, prevention of transmission of noise or vibration, data processing cables, or where needed to permit maintenance or repair.  They may not be used as a substitute for the fixed wiring, where run through holes in walls, ceilings or floors, where run through doorways, windows or similar openings, where attached to building surfaces, or where concealed behind building walls, ceilings or floors.

- Suitable disconnecting switches or plug connects must be installed to permit the disconnection of all ungrounded conductors of each temporary circuit.

- Lamps for general illumination must be protected from accidental contact or damage, either by elevating the fixture or by providing a suitable guard.  Hand lamps supplied by flexible cord must be equipped with a handle of molded composition or other approved material and must be equipped with a substantial bulb guard.

- Flexible cords and cables must be protected from accidental damage.  Sharp corners and projections are to be avoided. Flexible cords and cables must be protected from damage when they pass through doorways or other pinch points.

Appendix

Non-qualified personnel -” Non-qualified persons” are those who have limited knowledge and/or training or experience with electric equipment and electrical hazards involved with the work being performed.  Non-qualified persons are not allowed to perform any work on electrical energy. These persons will be trained and familiar with electrically related safe work practices in general, as well as safety related work practices that pertain to their job assignments in relation to electrical hazards.  Non-qualified persons and any conductive object they may touch must stay at least ten (10) feet from overhead lines.

Qualified personnel - "Qualified persons" are intended to be only those who are well acquainted with and thoroughly conversant in the electric equipment and electrical hazards involved with the work being performed.  Only qualified persons may place and remove locks and tags. (2) An employee who is undergoing on-the-job training, who, in the course of such training, has demonstrated an ability to perform duties safely at his or her level of training, and who is under the direct supervision of a qualified person is considered to be a qualified person for the performance of those duties. A person can be considered qualified with respect to certain equipment and methods but is unqualified for others.

“Qualified persons” shall not be assigned to work alone, except for replacing fuses, operating switches, or other operations that do not require the employee to contact energized high voltage conductors or energized parts of equipment, clearing trouble, or emergencies. Employees must receive training in avoiding the electrical hazards associated with working on or near exposed energized parts prior to performing energized electrical work.  Such training will be provided when the employee is initially assigned to the job and refresher training will be provided every ___ years or when conditions change.

Authorized lockout/tagout employee - A person who has completed the required hazardous energy control training and is authorized to lockout or tagout a specific machine or equipment to perform service or maintenance. A person must be certified as an authorized lockout/tagout employee to apply a lock or tag to control hazardous energy. All authorized lockout/tagout employees must be trained in:

- Electrical safety/lockout/tagout training; and,

- Equipment specific procedures in their individual work units.

Confined space - An enclosed space which has limited egress and access, and has an atmospheric hazard (e.g., explosive atmosphere or asphyxiating hazard) and/or other serious safety hazards (e.g., electrical hazard).

Damp location - Partially protected locations subject to moderate degrees of moisture, such as some basements.

De-energized electrical work - Electrical work that is performed on equipment that has been previously energized and is now free from any electrical connection to a source of potential difference and from electrical charges.

Disconnecting (or Isolating) switch - A device designed to close and/or open an electric circuit.

Dry location - Locations not normally subject to dampness or wetness, as in the case of a building under construction.

Energized electrical work - Repair, maintenance, troubleshooting, or testing on electrical circuits, components, or systems while energized (i.e., live). Only qualified high voltage electrical workers are permitted to work on energized circuitry of 50 volts/25 amps to ground or greater.

Energy source - Any source of electrical, mechanical, hydraulic, pneumatic, chemical, thermal, or other energy.

Exposed electrical parts - Energized parts that can be inadvertently touched or approached nearer than a safe distance by a person. Parts not suitably guarded, isolated, or insulated.  Examples include terminal contacts or lugs, and bare wiring.

Flash protection boundary - An approach limit distance from exposed live parts within which a person could receive a second degree burn if an electrical arc flash were to occur.

Ground fault circuit interrupt (GFCI) - A device whose function is to interrupt the electric circuit to the load when a fault current to ground exceeds a predetermined value that is less than that required to operate the over-current protective device of the supply circuit.

Ground - A conducting connection, whether intentional or accidental, between an electrical circuit or equipment and the earth or to some conducting body that serves in place of the earth.

Hazardous location - An area in which an airborne flammable dust, vapor or gas may be present and would represent a hazard if a source of ignition were present (see National Fire Protection Association (NFPA) Class I & II and Division 1 & 2).

Interlock - An electrical, mechanical, or key-locked device intended to prevent an undesired sequence of operations.

Isolating switch - A switch intended for isolating an electric circuit from the source of power. It has no interrupting rating and is intended to operate only after the circuit has been opened by some other means.

Life safety equipment - Equipment that provides critical protection for safety in the event of an emergency or other serious hazard. Life safety equipment, which is electrically energized, should be worked on using energized electrical equipment (EEW) procedures to ensure that the protection provided by the equipment is not lost (e.g., fire alarm and evacuation).

Limited approach boundary – An approach limit is a distance from an exposed live part within which a shock hazard exists.

Lockout - The placement of a lock on an energy-isolating device according to procedure, ensuring that the energy isolating device and the equipment being controlled cannot be operated until the lockout device is removed.

Lockout / tagout - A standard that covers the servicing and maintenance of machines and equipment in which the unexpected re-energization of the equipment or release of stored energy could cause injury to employees. It establishes performance requirements for the control of such hazardous energy.

Prohibited approach boundary – An approach limit distance from an exposed live part within which work is considered the same as contacting the live part.

Warning Labels

The following example label shall be affixed to industrial control panels (every enclosure that may contain exposed energized conductors or components) immediately:

Energized electrical work permit

For Applications of 240 volts or greater

1.	Work Location:

2.	Work order/project #:  									______

3.	Description of the work to be done:

- Check the following considerations when they apply:

|  | Work is within the restricted approach boundary and there is a work plan |
| --- | --- |
|  | Work is within the prohibited approach boundary; it is very hazardous and there is a work plan |
|  | Request to shut down equipment was made |
|  | Conducted a shock hazard analysis |
|  | Shock protection boundaries have been determined |
|  | Flash hazard analysis has been made and the results are known |
|  | Flash protection boundary has been determined |
|  | PPE including tools needed for the job have been determined and are available |
|  | Unqualified persons are restricted from the work area |
|  | Safe work practices that need to be employed have been considered |
|  | Job can be done safely |

(Signature, electrically qualified person)			         (Date)

(Signature, immediate supervisor)			          (Date)

Insert company name

### Electrical safety awareness program acknowledgement

I, _________________________________ have received training on the risks associated with potential electrical exposure, the company risk control program and procedures, and I have asked and received clarification on all questions regarding this risk.

I understand that failure to follow these company policies could result in disciplinary action up to and including termination.

_______________________________________________________       _____________

Employee Signature				                  Date

_______________________________________________________       _____________

Supervisor’s Signature                                                                  Date