# Weather hazards in roofing

Weather presents many hazards which can be compounded when working outdoors and on a roof. We will look at some of the most common weather-related dangers when it comes to roofing.

This Photo by Unknown Author is licensed under CC BY-SA

Potential hazards to address to address:

- High winds can present many issues such as dust in eyes, instability while walking on the roof and creating dangerous situations regarding carrying large sheets of material that can act as a sail

- Inclement weather also poses a significant threat with lightning, tornadoes as well as moisture causing a slick surface

Ways to prevent these hazards:

- Stay up to date with weather forecasts and plan ahead

- Protect eyes, nose, and mouth from any blowing particles with appropriate personal protective equipment

- Ensure proper fall protection is in place and take extra caution with work done on edge of roof

- In high winds take extra care when moving large sheets of material by keeping them flat and utilizing team lifting

This Photo by Unknown Author is licensed under CC BY-ND

Stop work if there is lighting in the area or a tornado warning and take cover

- Do not work on a wet roof and always wear non-slip footwear such as boots made specifically for roofing

This Photo by Unknown Author is licensed under CC BY-ND

Windsocks can be used to determine wind direction and strength